## Tabelle1
sensor_id | location_id | measurement | unit | accuracy | type | serial_number | installation_date | life_span | maintainance_interval | last_maintainance_date
101 | 1 | Temperature | °C | ± 0.1 °C | Resistance Temperature Detector | 704366825 | 2024-02-01 | 10 | 1 | 2025-01-30
102 | 1 | pH | pH | ± 0.05 | Glass Electrode pH Sensor | 297821524 | 2024-01-31 | 2 | 1 | 2025-01-30
103 | 1 | Dissolved Oxygen | mg/L | ± 2% | Electrochemical DO Sensor | 375691626 | 2024-01-31 | 3 | 1 | 2025-01-30
104 | 1 | Turbidity | NTU | ± 2% | Nephelometric Turbidity Sensor | 432679352 | 2024-02-01 | 10 | 1 | 2025-01-30
105 | 1 | Nitrate | mg/L | ± 2% | Ion-Selective Electrode | 929907232 | 2024-02-02 | 2 | 1 | 2025-01-30
106 | 1 | Phosphate | mg/L | ± 1% | Ion-Selective Electrode | 770461769 | 2024-01-31 | 5 | 1 | 2025-01-30
107 | 1 | Silicate | mg/L | ± 2% | Colorimetric Sensor | 217860965 | 2024-02-02 | 10 | 1 | 2025-01-30
108 | 1 | Clorophyll-a | µg/L | ± 1% | Fluorometer | 569826694 | 2024-02-01 | 10 | 1 | 2025-01-30
109 | 1 | Karena brevis | cells/L | ± 5% | Immunoassay Biosensor | 903693041 | 2024-01-31 | 2 | 1 | 2025-01-30
110 | 1 | Fecial Coliforms | CFU/100mL | ± 1% | CRISP Biosensor | 236711374 | 2024-02-02 | 1 | 1 | 2025-01-30
111 | 1 | Biochemical Oxygen Demand | mg/L | ± 5% | Respirometric BOD Sensor | 652081377 | 2024-02-01 | 5 | 1 | 2025-01-30
201 | 2 | Temperature | °C | ± 0.1 °C | Resistance Temperature Detector | 986415390 | 2024-01-15 | 10 | 1 | 2025-01-14
202 | 2 | pH | pH | ± 0.05 | Glass Electrode pH Sensor | 473842203 | 2024-01-16 | 2 | 1 | 2025-01-14
203 | 2 | Dissolved Oxygen | mg/L | ± 2% | Electrochemical DO Sensor | 15947572 | 2024-01-16 | 3 | 1 | 2025-01-14
204 | 2 | Turbidity | NTU | ± 2% | Nephelometric Turbidity Sensor | 229410559 | 2024-01-16 | 10 | 1 | 2025-01-14
205 | 2 | Nitrate | mg/L | ± 2% | Ion-Selective Electrode | 709937634 | 2024-01-15 | 2 | 1 | 2025-01-14
206 | 2 | Phosphate | mg/L | ± 1% | Ion-Selective Electrode | 32279346 | 2024-01-16 | 5 | 1 | 2025-01-14
207 | 2 | Silicate | mg/L | ± 2% | Colorimetric Sensor | 618392245 | 2024-01-15 | 10 | 1 | 2025-01-14
208 | 2 | Clorophyll-a | µg/L | ± 1% | Fluorometer | 288711734 | 2024-01-15 | 10 | 1 | 2025-01-14
209 | 2 | Karena brevis | cells/L | ± 5% | Immunoassay Biosensor | 13863077 | 2024-01-16 | 2 | 1 | 2025-01-14
210 | 2 | Fecial Coliforms | CFU/100mL | ± 1% | CRISP Biosensor | 78615116 | 2024-01-16 | 1 | 1 | 2025-01-14
211 | 2 | Biochemical Oxygen Demand | mg/L | ± 5% | Respirometric BOD Sensor | 19523666 | 2024-01-15 | 5 | 1 | 2025-01-14
301 | 3 | Temperature | °C | ± 0.1 °C | Resistance Temperature Detector | 252269754 | 2024-01-18 | 10 | 1 | 2025-01-17
302 | 3 | pH | pH | ± 0.05 | Glass Electrode pH Sensor | 7084741 | 2024-01-18 | 2 | 1 | 2025-01-17
303 | 3 | Dissolved Oxygen | mg/L | ± 2% | Electrochemical DO Sensor | 291219268 | 2024-01-18 | 3 | 1 | 2025-01-17
304 | 3 | Turbidity | NTU | ± 2% | Nephelometric Turbidity Sensor | 761119699 | 2024-01-19 | 10 | 1 | 2025-01-17
305 | 3 | Nitrate | mg/L | ± 2% | Ion-Selective Electrode | 550684980 | 2024-01-18 | 2 | 1 | 2025-01-17
306 | 3 | Phosphate | mg/L | ± 1% | Ion-Selective Electrode | 710950216 | 2024-01-19 | 5 | 1 | 2025-01-17
307 | 3 | Silicate | mg/L | ± 2% | Colorimetric Sensor | 369839604 | 2024-01-19 | 10 | 1 | 2025-01-17
308 | 3 | Clorophyll-a | µg/L | ± 1% | Fluorometer | 605294104 | 2024-01-18 | 10 | 1 | 2025-01-17
309 | 3 | Karena brevis | cells/L | ± 5% | Immunoassay Biosensor | 572814514 | 2024-01-18 | 2 | 1 | 2025-01-17
310 | 3 | Fecial Coliforms | CFU/100mL | ± 1% | CRISP Biosensor | 425976412 | 2024-01-19 | 1 | 1 | 2025-01-17
311 | 3 | Biochemical Oxygen Demand | mg/L | ± 5% | Respirometric BOD Sensor | 174959305 | 2024-01-19 | 5 | 1 | 2025-01-17
401 | 4 | Temperature | °C | ± 0.1 °C | Resistance Temperature Detector | 322775126 | 2024-01-08 | 10 | 1 | 2025-01-07
402 | 4 | pH | pH | ± 0.05 | Glass Electrode pH Sensor | 106171837 | 2024-01-09 | 2 | 1 | 2025-01-07
403 | 4 | Dissolved Oxygen | mg/L | ± 2% | Electrochemical DO Sensor | 15759264 | 2024-01-09 | 3 | 1 | 2025-01-07
404 | 4 | Turbidity | NTU | ± 2% | Nephelometric Turbidity Sensor | 288571800 | 2024-01-09 | 10 | 1 | 2025-01-07
405 | 4 | Nitrate | mg/L | ± 2% | Ion-Selective Electrode | 138114557 | 2024-01-08 | 2 | 1 | 2025-01-07
406 | 4 | Phosphate | mg/L | ± 1% | Ion-Selective Electrode | 38990039 | 2024-01-09 | 5 | 1 | 2025-01-07
407 | 4 | Silicate | mg/L | ± 2% | Colorimetric Sensor | 298154934 | 2024-01-08 | 10 | 1 | 2025-01-07
408 | 4 | Clorophyll-a | µg/L | ± 1% | Fluorometer | 942343620 | 2024-01-08 | 10 | 1 | 2025-01-07
409 | 4 | Karena brevis | cells/L | ± 5% | Immunoassay Biosensor | 308597220 | 2024-01-09 | 2 | 1 | 2025-01-07
410 | 4 | Fecial Coliforms | CFU/100mL | ± 1% | CRISP Biosensor | 874195954 | 2024-01-09 | 1 | 1 | 2025-01-07
411 | 4 | Biochemical Oxygen Demand | mg/L | ± 5% | Respirometric BOD Sensor | 932167482 | 2024-01-08 | 5 | 1 | 2025-01-07
501 | 5 | Temperature | °C | ± 0.1 °C | Resistance Temperature Detector | 842369128 | 2024-01-11 | 10 | 1 | 2025-01-10
502 | 5 | pH | pH | ± 0.05 | Glass Electrode pH Sensor | 924433833 | 2024-01-11 | 2 | 1 | 2025-01-10
503 | 5 | Dissolved Oxygen | mg/L | ± 2% | Electrochemical DO Sensor | 545679997 | 2024-01-11 | 3 | 1 | 2025-01-10
504 | 5 | Turbidity | NTU | ± 2% | Nephelometric Turbidity Sensor | 1054092 | 2024-01-12 | 10 | 1 | 2025-01-10
505 | 5 | Nitrate | mg/L | ± 2% | Ion-Selective Electrode | 901812173 | 2024-01-11 | 2 | 1 | 2025-01-10
506 | 5 | Phosphate | mg/L | ± 1% | Ion-Selective Electrode | 15507600 | 2024-01-12 | 5 | 1 | 2025-01-10
507 | 5 | Silicate | mg/L | ± 2% | Colorimetric Sensor | 560368775 | 2024-01-12 | 10 | 1 | 2025-01-10
508 | 5 | Clorophyll-a | µg/L | ± 1% | Fluorometer | 801432496 | 2024-01-11 | 10 | 1 | 2025-01-10
509 | 5 | Karena brevis | cells/L | ± 5% | Immunoassay Biosensor | 562348272 | 2024-01-11 | 2 | 1 | 2025-01-10
510 | 5 | Fecial Coliforms | CFU/100mL | ± 1% | CRISP Biosensor | 628528043 | 2024-01-12 | 1 | 1 | 2025-01-10
511 | 5 | Biochemical Oxygen Demand | mg/L | ± 5% | Respirometric BOD Sensor | 983324855 | 2024-01-12 | 5 | 1 | 2025-01-10
601 | 6 | Temperature | °C | ± 0.1 °C | Resistance Temperature Detector | 926297135 | 2024-01-03 | 10 | 1 | 2025-01-02
602 | 6 | pH | pH | ± 0.05 | Glass Electrode pH Sensor | 256492138 | 2024-01-02 | 2 | 1 | 2025-01-02
603 | 6 | Dissolved Oxygen | mg/L | ± 2% | Electrochemical DO Sensor | 110838494 | 2024-01-02 | 3 | 1 | 2025-01-02
604 | 6 | Turbidity | NTU | ± 2% | Nephelometric Turbidity Sensor | 582908114 | 2024-01-02 | 10 | 1 | 2025-01-02
605 | 6 | Nitrate | mg/L | ± 2% | Ion-Selective Electrode | 645909129 | 2024-01-03 | 2 | 1 | 2025-01-02
606 | 6 | Phosphate | mg/L | ± 1% | Ion-Selective Electrode | 740904672 | 2024-01-02 | 5 | 1 | 2025-01-02
607 | 6 | Silicate | mg/L | ± 2% | Colorimetric Sensor | 868407640 | 2024-01-03 | 10 | 1 | 2025-01-02
608 | 6 | Clorophyll-a | µg/L | ± 1% | Fluorometer | 797044004 | 2024-01-03 | 10 | 1 | 2025-01-02
609 | 6 | Karena brevis | cells/L | ± 5% | Immunoassay Biosensor | 7910845 | 2024-01-02 | 2 | 1 | 2025-01-02
610 | 6 | Fecial Coliforms | CFU/100mL | ± 1% | CRISP Biosensor | 634421588 | 2024-01-02 | 1 | 1 | 2025-01-02
611 | 6 | Biochemical Oxygen Demand | mg/L | ± 5% | Respirometric BOD Sensor | 207207385 | 2024-01-03 | 5 | 1 | 2025-01-02
701 | 7 | Temperature | °C | ± 0.1 °C | Resistance Temperature Detector | 417837505 | 2024-01-04 | 10 | 1 | 2025-01-03
702 | 7 | pH | pH | ± 0.05 | Glass Electrode pH Sensor | 68231212 | 2024-01-04 | 2 | 1 | 2025-01-03
703 | 7 | Dissolved Oxygen | mg/L | ± 2% | Electrochemical DO Sensor | 636919912 | 2024-01-04 | 3 | 1 | 2025-01-03
704 | 7 | Turbidity | NTU | ± 2% | Nephelometric Turbidity Sensor | 113471217 | 2024-01-05 | 10 | 1 | 2025-01-03
705 | 7 | Nitrate | mg/L | ± 2% | Ion-Selective Electrode | 714123887 | 2024-01-04 | 2 | 1 | 2025-01-03
706 | 7 | Phosphate | mg/L | ± 1% | Ion-Selective Electrode | 995374833 | 2024-01-05 | 5 | 1 | 2025-01-03
707 | 7 | Silicate | mg/L | ± 2% | Colorimetric Sensor | 677313508 | 2024-01-05 | 10 | 1 | 2025-01-03
708 | 7 | Clorophyll-a | µg/L | ± 1% | Fluorometer | 364871788 | 2024-01-04 | 10 | 1 | 2025-01-03
709 | 7 | Karena brevis | cells/L | ± 5% | Immunoassay Biosensor | 320991020 | 2024-01-04 | 2 | 1 | 2025-01-03
710 | 7 | Fecial Coliforms | CFU/100mL | ± 1% | CRISP Biosensor | 289775978 | 2024-01-05 | 1 | 1 | 2025-01-03
711 | 7 | Biochemical Oxygen Demand | mg/L | ± 5% | Respirometric BOD Sensor | 657946691 | 2024-01-05 | 5 | 1 | 2025-01-03